## Sheet2
Engine | Name | I/O Type | Modbus Address | Data Type (16 bit Int / Boolean?)
D/G | Air receiver press switch for engine | Digital | 1601 | Boolean
D/G | Air receiver press switch for engine | Digital | 1602 | Boolean
D/G | Air receiver press switch for engine | Digital | 1603 | Boolean
D/G | Air receiver press switch for engine | Digital | 1604 | Boolean
D/G | Air receiver press switch for engine | Digital | 1605 | Boolean
D/G | Air receiver press switch for engine | Digital | 1606 | Boolean
D/G | Level switch for DO service tank level control | Digital | 1607 | Boolean
D/G | Level switch for HO settling tank level high | Digital | 1608 | Boolean
D/G | Level switch for HO settling tank level low | Digital | 1609 | Boolean
D/G | Level switch for HO settling tank level control | Digital | 1610 | Boolean
D/G | Level switch for HO service tank level low | Digital | 1611 | Boolean
D/G | Level switch for F.O drain tank level control | Digital | 1612 | Boolean
D/G | Level switch for F.O drain tank | Digital | 1613 | Boolean
D/G | Press switch for auto back wash filter | Digital | 1614 | Boolean
D/G | Control air press.switch | Digital | 44 | Boolean
D/G | Control air press.switch | Digital | 444 | Boolean
D/G | Control air press.switch | Digital | 844 | Boolean
D/G | Control air press.switch | Digital | 1244 | Boolean
D/G | Thermostat switch for line heater | Digital | 1619 | Boolean
D/G | Thermostat switch for line heater | Digital | 1620 | Boolean
D/G | Thermostat sensor for HO Settling tank | Digital | 1621 | Boolean
D/G | (Thermostat sensor for HO Settling tank heater) | Digital | 1622 | Boolean
D/G | Thermostat switch for HO Service tank heater | Digital | 1623 | Boolean
D/G | Thermostat switch for HO Service tank(upper) | Digital | 1624 | Boolean
D/G | (Thermostat switch for HO Service tank heater) | Digital | 1625 | Boolean
D/G | Thermostat switch for HO Engine inlet | Digital | 1626 | Boolean
D/G | Thermostat switch for HO Engine inlet | Digital | 1627 | Boolean
D/G | Press switch for HO piping | Digital | 1628 | Boolean
D/G | Press switch for DO piping | Digital | 1629 | Boolean
D/G | Thermostat switch for Drain Tank | Digital | 1630 | Boolean
D/G | (Thermostat switch for Drain Tank Heater) | Digital | 1631 | Boolean
D/G | Viscosity controller | Digital | 1632 | Boolean
D/G | H.O. Purifier Abnormal | Digital | 1633 | Boolean
D/G | Lub.Oil Purifier Abnormal | Digital | 1634 | Boolean
D/G | Level Switch for Sludge Tank | Digital | 1635 | Boolean
D/G | VCB Status [Generator][52G1] | Digital | 65 | Boolean
D/G | VCB Status [Generator][52G1] | Digital | 465 | Boolean
D/G | VCB Status [Generator][52G1] | Digital | 865 | Boolean
D/G | VCB Status [Generator][52G1] | Digital | 1265 | Boolean
D/G | No.1 Turning Motor | Digital | 69 | Boolean
D/G | No.2 Turning Motor | Digital | 469 | Boolean
D/G | No.3 Turning Motor | Digital | 869 | Boolean
D/G | No.4 Turning Motor | Digital | 1269 | Boolean
D/G | No.1 LO Priming Pump Motor status | Digital | 73 | Boolean
D/G | No.2 LO Priming Pump Motor status | Digital | 473 | Boolean
D/G | No.3 LO Priming Pump Motor status | Digital | 873 | Boolean
D/G | No.4 LO Priming Pump Motor status | Digital | 1273 | Boolean
D/G | No.1 Air Compressor status | Digital | 1636 | Boolean
D/G | No.2 Air Compressor status | Digital | 1617 | Boolean
D/G | No.1 Mist Fan | Digital | 80 | Boolean
D/G | No.2 Mist Fan | Digital | 480 | Boolean
D/G | No.3 Mist Fan | Digital | 880 | Boolean
D/G | No.4 Mist Fan | Digital | 1280 | Boolean
D/G | No.1 DO Transfer Pump | Digital | 1646 | Boolean
D/G | No.2 DO Transfer Pump | Digital | 1651 | Boolean
D/G | No.1 DO Feed Pump | Digital | 1656 | Boolean
D/G | No.2 DO Feed Pump | Digital | 1661 | Boolean
D/G | No.1 HO Transfer Pump | Digital | 1666 | Boolean
D/G | No.2 HO Transfer Pump | Digital | 1671 | Boolean
D/G | No.1 HO Pressure Pump | Digital | 1676 | Boolean
D/G | No.2 HO Pressure Pump | Digital | 1681 | Boolean
D/G | No.1 HO Feed Pump | Digital | 1686 | Boolean
D/G | No.2 HO Feed Pump | Digital | 1691 | Boolean
D/G | No.1 FO Drain Pump | Digital | 1696 | Boolean
D/G | No.2 FO Drain Pump | Digital | 1701 | Boolean
D/G | No.1 DO/HO change over valve [Engine inlet] | Digital | 85 | Boolean
D/G | No.2 DO/HO change over valve [Engine inlet] | Digital | 485 | Boolean
D/G | No.3 DO/HO change over valve [Engine inlet] | Digital | 885 | Boolean
D/G | No.4 DO/HO change over valve [Engine inlet] | Digital | 1285 | Boolean
D/G | No.1 DO/HO change over valve [Engine outlet] | Digital | 87 | Boolean
D/G | No.2 DO/HO change over valve [Engine outlet] | Digital | 487 | Boolean
D/G | No.3 DO/HO change over valve [Engine outlet] | Digital | 887 | Boolean
D/G | No.4 DO/HO change over valve [Engine outlet] | Digital | 1287 | Boolean
D/G | No.1 Inlet Fan | Digital | 1706 | Boolean
D/G | No.2 Inlet Fan | Digital | 1711 | Boolean
D/G | No.3 Inlet Fan | Digital | 1716 | Boolean
D/G | No.4 Inlet Fan | Digital | 1721 | Boolean
D/G | No.5 Inlet Fan | Digital | 1726 | Boolean
D/G | No.1 Outlet Fan | Digital | 1731 | Boolean
D/G | No.2 Outlet Fan | Digital | 1736 | Boolean
D/G | No.3 Outlet Fan | Digital | 1741 | Boolean
D/G | No.4 Outlet Fan | Digital | 1746 | Boolean
D/G | No.5 Outlet Fan | Digital | 1751 | Boolean
D/G | Overhead crane | Digital | 1756 | Boolean
D/G | Air conditioner | Digital | 1758 | Boolean
D/G | Viscosity controller | Digital | 1759 | Boolean
D/G | L.O makeup Pump | Digital | 1760 | Boolean
D/G | No.1 Alternator Space heater | Digital | 89 | Boolean
D/G | No.2 Alternator Space heater | Digital | 489 | Boolean
D/G | No.3 Alternator Space heater | Digital | 889 | Boolean
D/G | No.4 Alternator Space heater | Digital | 1289 | Boolean
D/G | DO unloading pump | Digital | 1762 | Boolean
D/G | HO unloading pump | Digital | 1764 | Boolean
D/G | Inline heater | Digital | 1766 | Boolean
D/G | HO settling tank heater | Digital | 1771 | Boolean
D/G | No.1 HO purifier Heater | Digital | 1776 | Boolean
D/G | No.2 HO purifier Heater | Digital | 1777 | Boolean
D/G | No.1 HO purifier Pump | Digital | 1778 | Boolean
D/G | No.1 HO purifier Pump | Digital | 1780 | Boolean
D/G | No.1 HO service tank heater | Digital | 1782 | Boolean
D/G | No.2 HO service tank heater | Digital | 1787 | Boolean
D/G | HO line heater | Digital | 1792 | Boolean
D/G | HO back wash filter | Digital | 1793 | Boolean
D/G | No.1 F.O drain tank heater | Digital | 1794 | Boolean
D/G | No.2 F.O drain tank heater | Digital | 1799 | Boolean
D/G | No.1 HT Radiator Fan Motor | Digital | 94 | Boolean
D/G | No.2 HT Radiator Fan Motor | Digital | 494 | Boolean
D/G | No.3 HT Radiator Fan Motor | Digital | 894 | Boolean
D/G | No.4 HT Radiator Fan Motor | Digital | 1294 | Boolean
D/G | No.1 LT Radiator Fan Motor | Digital | 99 | Boolean
D/G | No.2 LT Radiator Fan Motor | Digital | 499 | Boolean
D/G | No.3 LT Radiator Fan Motor | Digital | 899 | Boolean
D/G | No.4 LT Radiator Fan Motor | Digital | 1299 | Boolean
D/G | Drain discharge pump | Digital | 1804 | Boolean
D/G | Make up water pump | Digital | 1806 | Boolean
D/G | No.1 LO purifier heater | Digital | 104 | Boolean
D/G | No.2 LO purifier heater | Digital | 504 | Boolean
D/G | No.3 LO purifier heater | Digital | 904 | Boolean
D/G | No.4 LO purifier heater | Digital | 1304 | Boolean
D/G | No.1 LO purifier pump | Digital | 106 | Boolean
D/G | No.2 LO purifier pump | Digital | 506 | Boolean
D/G | No.3 LO purifier pump | Digital | 906 | Boolean
D/G | No.4 LO purifier pump | Digital | 1306 | Boolean
D/G | Sludge transfer pump | Digital | 1824 | Boolean
D/G | Spare | Digital | 1829 | Boolean
D/G | No.1 Oily water drain pump | Digital | 1834 | Boolean
D/G | No.2 Oily water drain pump | Digital | 1836 | Boolean
D/G | Water supply pump | Digital | 1838 | Boolean
D/G | Lighting for Engine room | Digital | 1840 | Boolean
D/G | Control Panel | Digital | 1841 | Boolean
D/G | No.1 OMD | Digital | 1842 | Boolean
D/G | No.2 OMD | Digital | 1843 | Boolean
D/G | No.3 OMD | Digital | 1844 | Boolean
D/G | No.4 OMD | Digital | 1845 | Boolean
D/G | Heat trace No.1 | Digital | 1846 | Boolean
D/G | Heat trace No.2 | Digital | 1847 | Boolean
D/G | Heat trace No.3 | Digital | 1848 | Boolean
D/G | Heat trace No.4 | Digital | 1849 | Boolean
D/G | Heat trace No.5 | Digital | 1850 | Boolean
D/G | Heat trace No.6 | Digital | 1851 | Boolean
D/G | Heat trace No.7 | Digital | 1852 | Boolean
D/G | Heat trace No.8 | Digital | 1853 | Boolean
D/G | Heat trace No.9 | Digital | 1854 | Boolean
D/G | Heat trace No.10 | Digital | 1855 | Boolean
D/G | Heat trace No.11 | Digital | 1856 | Boolean
D/G | Heat trace No.12 | Digital | 1857 | Boolean
D/G | Heat trace No.13 | Digital | 1858 | Boolean
D/G | Heat trace No.14 | Digital | 1859 | Boolean
D/G | Heat trace No.15 | Digital | 1860 | Boolean
D/G | Heat trace No.16 | Digital | 1861 | Boolean
D/G | Heat trace No.17 | Digital | 1862 | Boolean
D/G | Heat trace No.18 | Digital | 1863 | Boolean
D/G | Heat trace No.19 | Digital | 1864 | Boolean
D/G | Heat trace No.20 | Digital | 1865 | Boolean
D/G | Heat trace No.21 | Digital | 1866 | Boolean
D/G | Heat trace No.22 | Digital | 1867 | Boolean
D/G | Heat trace No.23 | Digital | 1868 | Boolean
D/G | Heat trace No.24 | Digital | 1869 | Boolean
D/G#1 | Over Speed | Digital | 1 | Boolean
D/G#1 | Engine Start Failure | Digital | 2 | Boolean
D/G#1 | Turbo-charger gas outlet temp switch (2nd) | Digital | 3 | Boolean
D/G#1 | Heavy fault of oil mist detector | Digital | 4 | Boolean
D/G#1 | L.O press.switch for engine (2nd) | Digital | 5 | Boolean
D/G#1 | Jacket water thermal switch (2nd) | Digital | 6 | Boolean
D/G#1 | L.O press.switch for turbo-charger(2nd) | Digital | 7 | Boolean
D/G#1 | Jacket water press.switch (2nd) | Digital | 8 | Boolean
D/G#1 | DC control power supply failure | Digital | 9 | Boolean
D/G#1 | GAC Abnormal | Digital | 10 | Boolean
D/G#1 | Emergency stop | Digital | 11 | Boolean
D/G#1 | Jacket water flow relay | Digital | 12 | Boolean
D/G#1 | Over voltage | Digital | 13 | Boolean
D/G#1 | Under voltage | Digital | 14 | Boolean
D/G#1 | Gen differential | Digital | 15 | Boolean
D/G#1 | Reverse power | Digital | 16 | Boolean
D/G#1 | Field failure | Digital | 17 | Boolean
D/G#1 | Light fault of oil mist detector | Digital | 18 | Boolean
D/G#1 | Light fault of oil mist detector system failure | Digital | 19 | Boolean
D/G#1 | LO press.switch for engine(1st) | Digital | 20 | Boolean
D/G#1 | LO press.switch for priming | Digital | 21 | Boolean
D/G#1 | Cooler water press switch | Digital | 22 | Boolean
D/G#1 | L.O. press switch for turbo-charger (1st) | Digital | 23 | Boolean
D/G#1 | Jacket water thermal switch (1st) | Digital | 24 | Boolean
D/G#1 | Cooler water thermal switch | Digital | 25 | Boolean
D/G#1 | L.O. thermal switch | Digital | 26 | Boolean
D/G#1 | L.O. sump tank level switch | Digital | 27 | Boolean
D/G#1 | Jacket water press switch (1st) | Digital | 28 | Boolean
D/G#1 | L.O. filter differential press switch | Digital | 29 | Boolean
D/G#1 | T/C L.O filter differential press switch | Digital | 12 | Boolean
D/G#1 | F.O leak tank level switch | Digital | 31 | Boolean
D/G#1 | Cooler water flow relay | Digital | 32 | Boolean
D/G#1 | Level switch for C.W. expansion tank | Digital | 33 | Boolean
D/G#1 | Level switch for C.W. expansion tank | Digital | 34 | Boolean
D/G#1 | Level switch for J.W. expansion tank | Digital | 35 | Boolean
D/G#1 | Level switch for J.W. expansion tank | Digital | 36 | Boolean
D/G#1 | Level switch for DO service tank level high | Digital | 37 | Boolean
D/G#1 | Level switch for DO service tank level low | Digital | 38 | Boolean
D/G#1 | F.O press.switch | Digital | 39 | Boolean
D/G#1 | Display failure | Digital | 40 | Boolean
D/G#1 | DC100V source abnormal | Digital | 41 | Boolean
D/G#1 | DC24V source abnormal | Digital | 42 | Boolean
D/G#1 | Auto synchro failure | Digital | 43 | Boolean
D/G#1 | CB non-close | Digital | 1615 | Boolean
D/G#1 | Over Speed (mechanical side) | Digital | 45 | Boolean
D/G#1 | Thermal switch for alternator beaing(Fly-wheel side) | Digital | 46 | Boolean
D/G#1 | Thermal switch for alternator beaing (Anti-Fly-wheel side) | Digital | 47 | Boolean
D/G#1 | RATED SPEED | Digital | 48 | Boolean
D/G#1 | LOW SPEED | Digital | 49 | Boolean
D/G#1 | STARTING SOLENOID VALVE | Digital | 50 | Boolean
D/G#1 | FUEL SHUT DOWN DEVICE | Digital | 51 | Boolean
D/G#1 | FUEL CONTROL PISTON MAGNETIC VALVE | Digital | 52 | Boolean
D/G#1 | FUEL OIL CUT PISTON MAGNETIC VALVE | Digital | 53 | Boolean
D/G#1 | GOVERNOR HANDLE SWITCH | Digital | 54 | Boolean
D/G#1 | TURNING HANDLE POSITION SWITCH(ON AT TURNING DEVICE OUT) | Digital | 55 | Boolean
D/G#1 | TURBO-CHARGER GAS OUTLET TEMP. SWITCH (1st) | Digital | 56 | Boolean
D/G#1 | Limit switch for change over valve | Digital | 57 | Boolean
D/G#1 | Limit switch for change over valve | Digital | 58 | Boolean
D/G#1 | Limit switch for change over valve | Digital | 59 | Boolean
D/G#1 | Limit switch for change over valve | Digital | 60 | Boolean
D/G#1 | TEMP. SENSOR FOR RADIATOR 1 | Digital | 40040 | Boolean
D/G#1 | TEMP. SENSOR FOR RADIATOR 2 | Digital | 40041 | Boolean
D/G#1 | TEMP. SENSOR FOR RADIATOR 3 | Digital | 40042 | Boolean
D/G#1 | TEMP. SENSOR FOR RADIATOR 4 | Digital | 40043 | Boolean
D/G#1 | Ready to start | Digital | 68 | Boolean
D/G#2 | Over Speed | Digital | 401 | Boolean
D/G#2 | Engine Start Failure | Digital | 402 | Boolean
D/G#2 | Turbo-charger gas outlet temp switch (2nd) | Digital | 403 | Boolean
D/G#2 | Heavy fault of oil mist detector | Digital | 404 | Boolean
D/G#2 | L.O press.switch for engine (2nd) | Digital | 405 | Boolean
D/G#2 | Jacket water thermal switch (2nd) | Digital | 406 | Boolean
D/G#2 | L.O press.switch for turbo-charger(2nd) | Digital | 407 | Boolean
D/G#2 | Jacket water press.switch (2nd) | Digital | 408 | Boolean
D/G#2 | DC control power supply failure | Digital | 409 | Boolean
D/G#2 | GAC Abnormal | Digital | 410 | Boolean
D/G#2 | Emergency stop | Digital | 411 | Boolean
D/G#2 | Jacket water flow relay | Digital | 412 | Boolean
D/G#2 | Over voltage | Digital | 413 | Boolean
D/G#2 | Under voltage | Digital | 414 | Boolean
D/G#2 | Gen differential | Digital | 415 | Boolean
D/G#2 | Reverse power | Digital | 416 | Boolean
D/G#2 | Field failure | Digital | 417 | Boolean
D/G#2 | Light fault of oil mist detector | Digital | 418 | Boolean
D/G#2 | Light fault of oil mist detector system failure | Digital | 419 | Boolean
D/G#2 | LO press.switch for engine(1st) | Digital | 420 | Boolean
D/G#2 | LO press.switch for priming | Digital | 421 | Boolean
D/G#2 | Cooler water press switch | Digital | 422 | Boolean
D/G#2 | L.O. press switch for turbo-charger (1st) | Digital | 423 | Boolean
D/G#2 | Jacket water thermal switch (1st) | Digital | 424 | Boolean
D/G#2 | Cooler water thermal switch | Digital | 425 | Boolean
D/G#2 | L.O. thermal switch | Digital | 426 | Boolean
D/G#2 | L.O. sump tank level switch | Digital | 427 | Boolean
D/G#2 | Jacket water press switch (1st) | Digital | 428 | Boolean
D/G#2 | L.O. filter differential press switch | Digital | 429 | Boolean
D/G#2 | T/C L.O filter differential press switch | Digital | 412 | Boolean
D/G#2 | F.O leak tank level switch | Digital | 431 | Boolean
D/G#2 | Cooler water flow relay | Digital | 432 | Boolean
D/G#2 | Level switch for C.W. expansion tank | Digital | 433 | Boolean
D/G#2 | Level switch for C.W. expansion tank | Digital | 434 | Boolean
D/G#2 | Level switch for J.W. expansion tank | Digital | 435 | Boolean
D/G#2 | Level switch for J.W. expansion tank | Digital | 436 | Boolean
D/G#2 | Level switch for DO service tank level high | Digital | 437 | Boolean
D/G#2 | Level switch for DO service tank level low | Digital | 438 | Boolean
D/G#2 | F.O press.switch | Digital | 439 | Boolean
D/G#2 | Display failure | Digital | 440 | Boolean
D/G#2 | DC100V source abnormal | Digital | 441 | Boolean
D/G#2 | DC24V source abnormal | Digital | 442 | Boolean
D/G#2 | Auto synchro failure | Digital | 443 | Boolean
D/G#2 | CB non-close | Digital | 1616 | Boolean
D/G#2 | Over Speed (mechanical side) | Digital | 445 | Boolean
D/G#2 | Thermal switch for alternator beaing(Fly-wheel side) | Digital | 446 | Boolean
D/G#2 | Thermal switch for alternator beaing (Anti-Fly-wheel side) | Digital | 447 | Boolean
D/G#2 | RATED SPEED | Digital | 448 | Boolean
D/G#2 | LOW SPEED | Digital | 449 | Boolean
D/G#2 | STARTING SOLENOID VALVE | Digital | 450 | Boolean
D/G#2 | FUEL SHUT DOWN DEVICE | Digital | 451 | Boolean
D/G#2 | FUEL CONTROL PISTON MAGNETIC VALVE | Digital | 452 | Boolean
D/G#2 | FUEL OIL CUT PISTON MAGNETIC VALVE | Digital | 453 | Boolean
D/G#2 | GOVERNOR HANDLE SWITCH | Digital | 454 | Boolean
D/G#2 | TURNING HANDLE POSITION SWITCH(ON AT TURNING DEVICE OUT) | Digital | 455 | Boolean
D/G#2 | TURBO-CHARGER GAS OUTLET TEMP. SWITCH (1st) | Digital | 456 | Boolean
D/G#2 | Limit switch for change over valve | Digital | 457 | Boolean
D/G#2 | Limit switch for change over valve | Digital | 458 | Boolean
D/G#2 | Limit switch for change over valve | Digital | 459 | Boolean
D/G#2 | Limit switch for change over valve | Digital | 460 | Boolean
D/G#2 | TEMP. SENSOR FOR RADIATOR 1 | Digital | 40140 | Boolean
D/G#2 | TEMP. SENSOR FOR RADIATOR 2 | Digital | 40141 | Boolean
D/G#2 | TEMP. SENSOR FOR RADIATOR 3 | Digital | 40142 | Boolean
D/G#2 | TEMP. SENSOR FOR RADIATOR 4 | Digital | 40143 | Boolean
D/G#2 | Ready to start | Digital | 468 | Boolean
D/G#3 | Over Speed | Digital | 801 | Boolean
D/G#3 | Engine Start Failure | Digital | 802 | Boolean
D/G#3 | Turbo-charger gas outlet temp switch (2nd) | Digital | 803 | Boolean
D/G#3 | Heavy fault of oil mist detector | Digital | 804 | Boolean
D/G#3 | L.O press.switch for engine (2nd) | Digital | 805 | Boolean
D/G#3 | Jacket water thermal switch (2nd) | Digital | 806 | Boolean
D/G#3 | L.O press.switch for turbo-charger(2nd) | Digital | 807 | Boolean
D/G#3 | Jacket water press.switch (2nd) | Digital | 808 | Boolean
D/G#3 | DC control power supply failure | Digital | 809 | Boolean
D/G#3 | GAC Abnormal | Digital | 810 | Boolean
D/G#3 | Emergency stop | Digital | 811 | Boolean
D/G#3 | Jacket water flow relay | Digital | 812 | Boolean
D/G#3 | Over voltage | Digital | 813 | Boolean
D/G#3 | Under voltage | Digital | 814 | Boolean
D/G#3 | Gen differential | Digital | 815 | Boolean
D/G#3 | Reverse power | Digital | 816 | Boolean
D/G#3 | Field failure | Digital | 817 | Boolean
D/G#3 | Light fault of oil mist detector | Digital | 818 | Boolean
D/G#3 | Light fault of oil mist detector system failure | Digital | 819 | Boolean
D/G#3 | LO press.switch for engine(1st) | Digital | 820 | Boolean
D/G#3 | LO press.switch for priming | Digital | 821 | Boolean
D/G#3 | Cooler water press switch | Digital | 822 | Boolean
D/G#3 | L.O. press switch for turbo-charger (1st) | Digital | 823 | Boolean
D/G#3 | Jacket water thermal switch (1st) | Digital | 824 | Boolean
D/G#3 | Cooler water thermal switch | Digital | 825 | Boolean
D/G#3 | L.O. thermal switch | Digital | 826 | Boolean
D/G#3 | L.O. sump tank level switch | Digital | 827 | Boolean
D/G#3 | Jacket water press switch (1st) | Digital | 828 | Boolean
D/G#3 | L.O. filter differential press switch | Digital | 829 | Boolean
D/G#3 | T/C L.O filter differential press switch | Digital | 812 | Boolean
D/G#3 | F.O leak tank level switch | Digital | 831 | Boolean
D/G#3 | Cooler water flow relay | Digital | 832 | Boolean
D/G#3 | Level switch for C.W. expansion tank | Digital | 833 | Boolean
D/G#3 | Level switch for C.W. expansion tank | Digital | 834 | Boolean
D/G#3 | Level switch for J.W. expansion tank | Digital | 835 | Boolean
D/G#3 | Level switch for J.W. expansion tank | Digital | 836 | Boolean
D/G#3 | Level switch for DO service tank level high | Digital | 837 | Boolean
D/G#3 | Level switch for DO service tank level low | Digital | 838 | Boolean
D/G#3 | F.O press.switch | Digital | 839 | Boolean
D/G#3 | Display failure | Digital | 840 | Boolean
D/G#3 | DC100V source abnormal | Digital | 841 | Boolean
D/G#3 | DC24V source abnormal | Digital | 842 | Boolean
D/G#3 | Auto synchro failure | Digital | 843 | Boolean
D/G#3 | CB non-close | Digital | 1617 | Boolean
D/G#3 | Over Speed (mechanical side) | Digital | 845 | Boolean
D/G#3 | Thermal switch for alternator beaing(Fly-wheel side) | Digital | 846 | Boolean
D/G#3 | Thermal switch for alternator beaing (Anti-Fly-wheel side) | Digital | 847 | Boolean
D/G#3 | RATED SPEED | Digital | 848 | Boolean
D/G#3 | LOW SPEED | Digital | 849 | Boolean
D/G#3 | STARTING SOLENOID VALVE | Digital | 850 | Boolean
D/G#3 | FUEL SHUT DOWN DEVICE | Digital | 851 | Boolean
D/G#3 | FUEL CONTROL PISTON MAGNETIC VALVE | Digital | 852 | Boolean
D/G#3 | FUEL OIL CUT PISTON MAGNETIC VALVE | Digital | 853 | Boolean
D/G#3 | GOVERNOR HANDLE SWITCH | Digital | 854 | Boolean
D/G#3 | TURNING HANDLE POSITION SWITCH(ON AT TURNING DEVICE OUT) | Digital | 855 | Boolean
D/G#3 | TURBO-CHARGER GAS OUTLET TEMP. SWITCH (1st) | Digital | 856 | Boolean
D/G#3 | Limit switch for change over valve | Digital | 857 | Boolean
D/G#3 | Limit switch for change over valve | Digital | 858 | Boolean
D/G#3 | Limit switch for change over valve | Digital | 859 | Boolean
D/G#3 | Limit switch for change over valve | Digital | 860 | Boolean
D/G#3 | TEMP. SENSOR FOR RADIATOR 1 | Digital | 40240 | Boolean
D/G#3 | TEMP. SENSOR FOR RADIATOR 2 | Digital | 40241 | Boolean
D/G#3 | TEMP. SENSOR FOR RADIATOR 3 | Digital | 40242 | Boolean
D/G#3 | TEMP. SENSOR FOR RADIATOR 4 | Digital | 40243 | Boolean
D/G#3 | Ready to start | Digital | 868 | Boolean
D/G#4 | Over Speed | Digital | 1201 | Boolean
D/G#4 | Engine Start Failure | Digital | 1202 | Boolean
D/G#4 | Turbo-charger gas outlet temp switch (2nd) | Digital | 1203 | Boolean
D/G#4 | Heavy fault of oil mist detector | Digital | 1204 | Boolean
D/G#4 | L.O press.switch for engine (2nd) | Digital | 1205 | Boolean
D/G#4 | Jacket water thermal switch (2nd) | Digital | 1206 | Boolean
D/G#4 | L.O press.switch for turbo-charger(2nd) | Digital | 1207 | Boolean
D/G#4 | Jacket water press.switch (2nd) | Digital | 1208 | Boolean
D/G#4 | DC control power supply failure | Digital | 1209 | Boolean
D/G#4 | GAC Abnormal | Digital | 1210 | Boolean
D/G#4 | Emergency stop | Digital | 1211 | Boolean
D/G#4 | Jacket water flow relay | Digital | 1212 | Boolean
D/G#4 | Over voltage | Digital | 1213 | Boolean
D/G#4 | Under voltage | Digital | 1214 | Boolean
D/G#4 | Gen differential | Digital | 1215 | Boolean
D/G#4 | Reverse power | Digital | 1216 | Boolean
D/G#4 | Field failure | Digital | 1217 | Boolean
D/G#4 | Light fault of oil mist detector | Digital | 1218 | Boolean
D/G#4 | Light fault of oil mist detector system failure | Digital | 1219 | Boolean
D/G#4 | LO press.switch for engine(1st) | Digital | 1220 | Boolean
D/G#4 | LO press.switch for priming | Digital | 1221 | Boolean
D/G#4 | Cooler water press switch | Digital | 1222 | Boolean
D/G#4 | L.O. press switch for turbo-charger (1st) | Digital | 1223 | Boolean
D/G#4 | Jacket water thermal switch (1st) | Digital | 1224 | Boolean
D/G#4 | Cooler water thermal switch | Digital | 1225 | Boolean
D/G#4 | L.O. thermal switch | Digital | 1226 | Boolean
D/G#4 | L.O. sump tank level switch | Digital | 1227 | Boolean
D/G#4 | Jacket water press switch (1st) | Digital | 1228 | Boolean
D/G#4 | L.O. filter differential press switch | Digital | 1229 | Boolean
D/G#4 | T/C L.O filter differential press switch | Digital | 1230 | Boolean
D/G#4 | F.O leak tank level switch | Digital | 1231 | Boolean
D/G#4 | Cooler water flow relay | Digital | 1232 | Boolean
D/G#4 | Level switch for C.W. expansion tank | Digital | 1233 | Boolean
D/G#4 | Level switch for C.W. expansion tank | Digital | 1234 | Boolean
D/G#4 | Level switch for J.W. expansion tank | Digital | 1235 | Boolean
D/G#4 | Level switch for J.W. expansion tank | Digital | 1236 | Boolean
D/G#4 | Level switch for DO service tank level high | Digital | 1237 | Boolean
D/G#4 | Level switch for DO service tank level low | Digital | 1238 | Boolean
D/G#4 | F.O press.switch | Digital | 1239 | Boolean
D/G#4 | Display failure | Digital | 1240 | Boolean
D/G#4 | DC100V source abnormal | Digital | 1241 | Boolean
D/G#4 | DC24V source abnormal | Digital | 1242 | Boolean
D/G#4 | Auto synchro failure | Digital | 1243 | Boolean
D/G#4 | CB non-close | Digital | 1618 | Boolean
D/G#4 | Over Speed (mechanical side) | Digital | 1245 | Boolean
D/G#4 | Thermal switch for alternator beaing(Fly-wheel side) | Digital | 1246 | Boolean
D/G#4 | Thermal switch for alternator beaing (Anti-Fly-wheel side) | Digital | 1247 | Boolean
D/G#4 | RATED SPEED | Digital | 1248 | Boolean
D/G#4 | LOW SPEED | Digital | 1249 | Boolean
D/G#4 | STARTING SOLENOID VALVE | Digital | 1250 | Boolean
D/G#4 | FUEL SHUT DOWN DEVICE | Digital | 1251 | Boolean
D/G#4 | FUEL CONTROL PISTON MAGNETIC VALVE | Digital | 1252 | Boolean
D/G#4 | FUEL OIL CUT PISTON MAGNETIC VALVE | Digital | 1253 | Boolean
D/G#4 | GOVERNOR HANDLE SWITCH | Digital | 1254 | Boolean
D/G#4 | TURNING HANDLE POSITION SWITCH(ON AT TURNING DEVICE OUT) | Digital | 1255 | Boolean
D/G#4 | TURBO-CHARGER GAS OUTLET TEMP. SWITCH (1st) | Digital | 1256 | Boolean
D/G#4 | Limit switch for change over valve | Digital | 1257 | Boolean
D/G#4 | Limit switch for change over valve | Digital | 1258 | Boolean
D/G#4 | Limit switch for change over valve | Digital | 1259 | Boolean
D/G#4 | Limit switch for change over valve | Digital | 1260 | Boolean
D/G#4 | TEMP. SENSOR FOR RADIATOR 1 | Digital | 40340 | Boolean
D/G#4 | TEMP. SENSOR FOR RADIATOR 2 | Digital | 40341 | Boolean
D/G#4 | TEMP. SENSOR FOR RADIATOR 3 | Digital | 40342 | Boolean
D/G#4 | TEMP. SENSOR FOR RADIATOR 4 | Digital | 40343 | Boolean
D/G#4 | Ready to start | Digital | 1268 | Boolean