## Sheet1
| Address | Channel | Value | Function
Digital | 10000 | DO transfer pump 1 | 1 | 1
Digital | 10001 | DO transfer pump 2 | 0 | 1
Digital | 10002 | HO transfer pump 1 | 1 | 1
Digital | 10003 | HO transfer pump 2 | 0 | 1
Digital | 10004 | Pump 5 | 1 | 1
Digital | 10005 | Pump 6 | 0 | 1
Digital | 10006 | Pump 7 | 1 | 1
Digital | 10007 | Pump 8 | 0 | 1
Digital | 10008 | Pump 9 | 1 | 1
Digital | 10009 | Pump 10 | 0 | 1
Digital | 10010 | Pump 11 | 1 | 1
Digital | 10011 | Pump 12 | 0 | 1
Digital | 10012 | LC_D.O.service.tank | 1 | 1
Digital | 10013 | LC_H.O.settling.tank | 0 | 1
Digital | 10014 | LH_D.O.service.tank | 1 | 1
Digital | 10015 | LH_F.O. drain tank | 0 | 1
Digital | 10016 | LH_H.O.settling.tank | 1 | 1
Digital | 10017 | LL_D.O.service.tank | 0 | 1
Digital | 10018 | LL_F.O. drain tank | 1 | 1
Digital | 10019 | LL_H.O.service.tank | 0 | 1
Digital | 10020 | LL_H.O.settling.tank | 1 | 1
Digital | 10021 | LS_Sludge.tank | 0 | 1
Digital | 10022 | TS_D.O.service.tank | 1 | 1
Digital | 10023 | TS_F.O. drain tank | 0 | 1
Digital | 10024 | TS_H.O.purifier.No1 | 1 | 1
Digital | 10025 | TS_H.O.purifier.No2 | 0 | 1
Digital | 10026 | TS_H.O.purifier.No3 | 1 | 1
Digital | 10027 | TS_H.O.settling.tank | 0 | 1
Digital | 10028 | TS1_H.O.service.tank | 1 | 1
Digital | 10029 | TS2_H.O.service.tank | 0 | 1
Digital | 10030 | TSH_D.O.service.tank | 1 | 1
Digital | 10031 | TSH_F.O. drain tank | 0 | 1
Digital | 10032 | TSH_H.O.service.tank | 1 | 1
Digital | 10033 | TSH_H.O.settling.tank | 0 | 1
Digital | 10034 | Viscosity-Controller | 1 | 1
Digital | 10035 | DO-line | 0 | 1
Digital | 10036 | HO-line | 1 | 1
Digital | 10000 | DO feed pump 1 | 0 | 1
Digital | 10000 | DO feed pump 2 | 1 | 1
Analog | 40001 | Flow 1 | 15 | 3
Analog | 40002 | Flow 2 | 33 | 3
Analog | 40003 | Flow 3 | 2 | 3
Analog | 40004 | Flow 4 | 12 | 3
Analog | 40005 | Flow 5 | 200 | 3
Analog | 40006 | Flow 6 | 90 | 3
Analog | 40007 | Flow 7 | 10000 | 3
Analog | 40008 | Flow 8 | 500 | 3
Analog | 40009 | Flow 9 | 0 | 3
Analog | 40010 | Flow 10 | 0 | 3
Analog | 40011 | Flow 11 | 0 | 3
Analog | 40012 | Flow 12 | 1500 | 3
Analog | 40013 | Flow 13 | 12 | 3
Analog | 40014 | Flow 14 | 0 | 3
Analog | 40015 | Flow 15 | 0 | 3
Analog | 40016 | Flow 16 | 0 | 3
Analog | 40017 | Flow 17 | 0 | 3
Analog | 40018 | Flow 18 | 0 | 3
Analog | 40019 |  |  | 3
Analog | 40020 |  |  | 3
Analog | 40021 |  |  | 3
Analog | 40022 |  |  | 3
Analog | 40023 |  |  | 3
Analog | 40024 |  |  | 3
Analog | 40025 |  |  | 3
Analog | 40026 |  |  | 3
Analog | 40027 |  |  | 3
Analog | 40028 |  |  | 3
Analog | 40029 |  |  | 3
Analog | 40030 |  |  | 3
Analog | 40031 |  |  | 3
Analog | 40032 |  |  | 3
Analog | 40033 |  |  | 3
Analog | 40034 |  |  | 3
Analog | 40035 |  |  | 3
Analog | 40036 |  |  | 3
Analog | 40037 |  |  | 3
Analog | 40038 |  |  | 3
Analog | 40039 |  |  | 3
Analog | 40040 |  |  | 3
Analog | 40041 |  |  | 3
Analog | 40042 |  |  | 3
Analog | 40043 |  |  | 3
Analog | 40044 |  |  | 3
Analog | 40045 |  |  | 3
Analog | 40046 |  |  | 3
Analog | 40047 |  |  | 3
Analog | 40048 |  |  | 3
Analog | 40049 |  |  | 3
Analog | 40050 |  |  | 3
Analog | 40051 |  |  | 3
Analog | 40052 |  |  | 3
Analog | 40053 |  |  | 3
Analog | 40054 |  |  | 3
Analog | 40055 |  |  | 3
Analog | 40056 |  |  | 3
Analog | 40057 |  |  | 3
Analog | 40058 |  |  | 3
Analog | 40059 |  |  | 3
Analog | 40060 |  |  | 3
Analog | 40061 |  |  | 3
Analog | 40062 |  |  | 3
Analog | 40063 |  |  | 3
Analog | 40064 |  |  | 3
Analog | 40065 |  |  | 3
Analog | 40066 |  |  | 3
Analog | 40067 |  |  | 3
Analog | 40068 |  |  | 3
Analog | 40069 |  |  | 3
Analog | 40070 |  |  | 3
Analog | 40071 |  |  | 3
Analog | 40072 |  |  | 3
Analog | 40073 |  |  | 3
Analog | 40074 |  |  | 3
Analog | 40075 |  |  | 3
Analog | 40076 |  |  | 3
Analog | 40077 |  |  | 3
Analog | 40078 |  |  | 3
Analog | 40079 |  |  | 3
Analog | 40080 |  |  | 3
Analog | 40081 |  |  | 3
Analog | 40082 |  |  | 3
Analog | 40083 |  |  | 3
Analog | 40084 |  |  | 3
Analog | 40085 |  |  | 3
Analog | 40086 |  |  | 3
Analog | 40087 |  |  | 3
Analog | 40088 |  |  | 3
Analog | 40089 |  |  | 3
Analog | 40090 |  |  | 3
Analog | 40091 |  |  | 3
Analog | 40092 |  |  | 3
Analog | 40093 | Intake Air Pressure DG#1 | 1 | 3
Analog | 40094 | Air Receiver Pressure DG#1 | 2 | 3
Analog | 40095 | Stator Winding Temp U DG#1 | 300 | 3
Analog | 40096 | Stator Winding Temp V DG#1 | 600 | 3
Analog | 40097 | Stator Winding Temp W DG#1 | 1 | 3
Analog | 40098 | DE Bearing Temp DG#1 | 2 | 3
Analog | 40099 | NDE Bearing Temp DG#1 | 3 | 3
Analog | 40100 | Engine Running Hours DG#1 | 490 | 3
Analog | 40101 | Engine Power DG#1 | 500 | 3
Analog | 40102 | Engine Speed DG#1 | 0 | 3
Analog | 40103 | T/C Outlet Temp DG#1 | 0 | 3
Analog | 40104 | Cyl 1 Exhaust Temp DG#1 | 400 | 3
Analog | 40105 | Cyl 2 Exhaust Temp DG#1 | 0 | 3
Analog | 40106 | Cyl 3 Exhaust Temp DG#1 | 44 | 3
Analog | 40107 | Cyl 4 Exhaust Temp DG#1 | 600 | 3
Analog | 40108 | Cyl 5 Exhaust Temp DG#1 | 0 | 3
Analog | 40109 | Cyl 6 Exhaust Temp DG#1 | 0 | 3
Analog | 40110 | T/C Inlet Temp DG#1 | 600 | 3
Analog | 40111 | Fuel Oil Pressure DG#1 | 0 | 3
Analog | 40112 | DO Engine Inlet Temp DG#1 | 0 | 3
Analog | 40113 | DO Engine Return Temp DG#1 | 0 | 3
Analog | 40114 | HO Engine Inlet Temp DG#1 | 0 | 3
Analog | 40115 | HO Engine Return Temp DG#1 | 0 | 3
Analog | 40116 | DO Transfer Flow DG#1 | 0 | 3
Analog | 40117 | D.O Inlet Flow DG#1 | 0 | 3
Analog | 40118 | D.O Outlet Flow DG#1 | 0 | 3
Analog | 40119 | HO Transfer Flow DG#1 | 0 | 3
Analog | 40120 | H.O Inlet Flow DG#1 | 0 | 3
Analog | 40121 | H.O Outlet Flow DG#1 | 0 | 3
Analog | 40122 | Engine LO Pressure DG#1 | 23232 | 3
Analog | 40123 | Turbo LO Pressure DG#1 | 1111 | 3
Analog | 40124 | LO Cooler Inlet Temp DG#1 | 0 | 3
Analog | 40125 | LO Cooler Outlet Temp DG#1 | 0 | 3
Analog | 40126 | Oil Mist Level DG#1 | 0 | 3
Analog | 40127 | OMD Analog Signal DG#1 | 0 | 3
Analog | 40128 | Generator Voltage DG#1 | 0 | 3
Analog | 40129 | Generator Frequency DG#1 | 0 | 3
Analog | 40130 | Generator Power Factor DG#1 | 0 | 3
Analog | 40131 | Generator Current DG#1 | 0 | 3
Analog | 40132 | Jacket Water Pressure DG#1 | 0 | 3
Analog | 40133 | Cooler Water Pressure DG#1 | 0 | 3
Analog | 40134 | Jacket Water Inlet Temp DG#1 | 0 | 3
Analog | 40135 | Jacket Water Outlet Temp DG#1 | 0 | 3
Analog | 40136 | Cooler Water Inlet Temp DG#1 | 0 | 3
Analog | 40137 | Cooler Water Outlet Temp DG#1 | 1111 | 3
Analog | 40138 | CW Before LO Cooler Temp DG#1 | 3000 | 3
Analog | 40139 | Intake Air Pressure DG#2 | 1 | 3
Analog | 40140 | Air Receiver Pressure DG#2 | 5000 | 3
Analog | 40141 | Stator Winding Temp U DG#2 | 222 | 3
Analog | 40142 | Stator Winding Temp V DG#2 | 0 | 3
Analog | 40143 | Stator Winding Temp W DG#2 | 0 | 3
Analog | 40144 | DE Bearing Temp DG#2 | 0 | 3
Analog | 40145 | NDE Bearing Temp DG#2 | 0 | 3
Analog | 40146 | Engine Running Hours DG#2 | 333 | 3
Analog | 40147 | Engine Power DG#2 | 333 | 3
Analog | 40148 | Engine Speed DG#2 | 750 | 3
Analog | 40149 | T/C Outlet Temp DG#2 | 0 | 3
Analog | 40150 | Cyl 1 Exhaust Temp DG#2 | 0 | 3
Analog | 40151 | Cyl 2 Exhaust Temp DG#2 | 0 | 3
Analog | 40152 | Cyl 3 Exhaust Temp DG#2 | 0 | 3
Analog | 40153 | Cyl 4 Exhaust Temp DG#2 | 0 | 3
Analog | 40154 | Cyl 5 Exhaust Temp DG#2 | 0 | 3
Analog | 40155 | Cyl 6 Exhaust Temp DG#2 | 0 | 3
Analog | 40156 | T/C Inlet Temp DG#2 | 2222 | 3
Analog | 40157 | Fuel Oil Pressure DG#2 | 555 | 3
Analog | 40158 | DO Engine Inlet Temp DG#2 | 500 | 3
Analog | 40159 | DO Engine Return Temp DG#2 | 99 | 3
Analog | 40160 | HO Engine Inlet Temp DG#2 | 1111 | 3
Analog | 40161 | HO Engine Return Temp DG#2 | 0 | 3
Analog | 40162 | DO Transfer Flow DG#2 | 0 | 3
Analog | 40163 | DO Engine Inlet Flow DG#2 | 0 | 3
Analog | 40164 | DO Engine Return Flow DG#2 | 0 | 3
Analog | 40165 | HO Transfer Flow DG#2 | 0 | 3
Analog | 40166 | HO Engine Inlet Flow DG#2 | 0 | 3
Analog | 40167 | HO Engine Return Flow DG#2 | 0 | 3
Analog | 40168 | Engine LO Pressure DG#2 | 0 | 3
Analog | 40169 | Turbo LO Pressure DG#2 | 0 | 3
Analog | 40170 | LO Cooler Inlet Temp DG#2 | 0 | 3
Analog | 40171 | LO Cooler Outlet Temp DG#2 | 0 | 3
Analog | 40172 | Oil Mist Level DG#2 | 0 | 3
Analog | 40173 | OMD Analog Signal DG#2 | 0 | 3
Analog | 40174 | Generator Voltage DG#2 | 0 | 3
Analog | 40175 | Generator Frequency DG#2 | 0 | 3
Analog | 40176 | Generator Power Factor DG#2 | 0 | 3
Analog | 40177 | Generator Current DG#2 | 0 | 3
Analog | 40178 | Jacket Water Pressure DG#2 | 0 | 3
Analog | 40179 | Cooler Water Pressure DG#2 | 1000 | 3
Analog | 40180 | Jacket Water Inlet Temp DG#2 | 999 | 3
Analog | 40181 | Jacket Water Outlet Temp DG#2 | 0 | 3
Analog | 40182 | Cooler Water Inlet Temp DG#2 | 0 | 3
Analog | 40183 | Cooler Water Outlet Temp DG#2 | 0 | 3
Analog | 40184 | CW Before LO Cooler Temp DG#2 | 987 | 3
Analog | 40185 | Intake Air Pressure DG#3 | 5679 | 3
Analog | 40186 | Air Receiver Pressure DG#3 | 123 | 3
Analog | 40187 | Stator Winding Temp U DG#3 | 0 | 3
Analog | 40188 | Stator Winding Temp V DG#3 | 0 | 3
Analog | 40189 | Stator Winding Temp W DG#3 | 0 | 3
Analog | 40190 | DE Bearing Temp DG#3 | 0 | 3
Analog | 40191 | NDE Bearing Temp DG#3 | 0 | 3
Analog | 40192 | Engine Running Hours DG#3 | 11111 | 3
Analog | 40193 | Engine Power DG#3 | 500 | 3
Analog | 40194 | Engine Speed DG#3 | 0 | 3
Analog | 40195 | T/C Outlet Temp DG#3 | 1000 | 3
Analog | 40196 | Cyl 1 Exhaust Temp DG#3 | 0 | 3
Analog | 40197 | Cyl 2 Exhaust Temp DG#3 | 0 | 3
Analog | 40198 | Cyl 3 Exhaust Temp DG#3 | 0 | 3
Analog | 40199 | Cyl 4 Exhaust Temp DG#3 | 0 | 3
Analog | 40200 | Cyl 5 Exhaust Temp DG#3 | 0 | 3
Analog | 40201 | Cyl 6 Exhaust Temp DG#3 | 0 | 3
Analog | 40202 | T/C Inlet Temp DG#3 | 0 | 3
Analog | 40203 | Fuel Oil Pressure DG#3 | 0 | 3
Analog | 40204 | DO Engine Inlet Temp DG#3 | 0 | 3
Analog | 40205 | DO Engine Return Temp DG#3 | 0 | 3
Analog | 40206 | HO Engine Inlet Temp DG#3 | 0 | 3
Analog | 40207 | HO Engine Return Temp DG#3 | 0 | 3
Analog | 40208 | DO Transfer Flow DG#3 | 0 | 3
Analog | 40209 | DO Engine Inlet Flow DG#3 | 0 | 3
Analog | 40210 | DO Engine Return Flow DG#3 | 0 | 3
Analog | 40211 | HO Transfer Flow DG#3 | 0 | 3
Analog | 40212 | HO Engine Inlet Flow DG#3 | 0 | 3
Analog | 40213 | HO Engine Return Flow DG#3 | 0 | 3
Analog | 40214 | Engine LO Pressure DG#3 | 0 | 3
Analog | 40215 | Turbo LO Pressure DG#3 | 0 | 3
Analog | 40216 | LO Cooler Inlet Temp DG#3 | 0 | 3
Analog | 40217 | LO Cooler Outlet Temp DG#3 | 0 | 3
Analog | 40218 | Oil Mist Level DG#3 | 0 | 3
Analog | 40219 | OMD Analog Signal DG#3 | 0 | 3
Analog | 40220 | Generator Voltage DG#3 | 0 | 3
Analog | 40221 | Generator Frequency DG#3 | 0 | 3
Analog | 40222 | Generator Power Factor DG#3 | 0 | 3
Analog | 40223 | Generator Current DG#3 | 0 | 3
Analog | 40224 | Jacket Water Pressure DG#3 | 0 | 3
Analog | 40225 | Cooler Water Pressure DG#3 | 0 | 3
Analog | 40226 | Jacket Water Inlet Temp DG#3 | 0 | 3
Analog | 40227 | Jacket Water Outlet Temp DG#3 | 0 | 3
Analog | 40228 | Cooler Water Inlet Temp DG#3 | 0 | 3
Analog | 40229 | Cooler Water Outlet Temp DG#3 | 0 | 3
Analog | 40230 | CW Before LO Cooler Temp DG#3 | 1111 | 3
Analog | 40231 | Intake Air Pressure DG#4 | 12345 | 3
Analog | 40232 | Air Receiver Pressure DG#4 | 2 | 3
Analog | 40233 | Stator Winding Temp U DG#4 | 3 | 3
Analog | 40234 | Stator Winding Temp V DG#4 | 1 | 3
Analog | 40235 | Stator Winding Temp W DG#4 | 2 | 3
Analog | 40236 | DE Bearing Temp DG#4 | 5 | 3
Analog | 40237 | NDE Bearing Temp DG#4 | 6 | 3
Analog | 40238 | Engine Running Hours DG#4 | 1000 | 3
Analog | 40239 | Engine Power DG#4 | 600 | 3
Analog | 40240 | Engine Speed DG#4 | 3 | 3
Analog | 40241 | T/C Outlet Temp DG#4 | 0 | 3
Analog | 40242 | Cyl 1 Exhaust Temp DG#4 | 0 | 3
Analog | 40243 | Cyl 2 Exhaust Temp DG#4 | 0 | 3
Analog | 40244 | Cyl 3 Exhaust Temp DG#4 | 0 | 3
Analog | 40245 | Cyl 4 Exhaust Temp DG#4 | 0 | 3
Analog | 40246 | Cyl 5 Exhaust Temp DG#4 | 0 | 3
Analog | 40247 | Cyl 6 Exhaust Temp DG#4 | 0 | 3
Analog | 40248 | T/C Inlet Temp DG#4 | 0 | 3
Analog | 40249 | Fuel Oil Pressure DG#4 | 0 | 3
Analog | 40250 | DO Engine Inlet Temp DG#4 | 0 | 3
Analog | 40251 | DO Engine Return Temp DG#4 | 0 | 3
Analog | 40252 | HO Engine Inlet Temp DG#4 | 0 | 3
Analog | 40253 | HO Engine Return Temp DG#4 | 0 | 3
Analog | 40254 | DO Transfer Flow DG#4 | 0 | 3
Analog | 40255 | DO Engine Inlet Flow DG#4 | 0 | 3
Analog | 40256 | DO Engine Return Flow DG#4 | 0 | 3
Analog | 40257 | HO Transfer Flow DG#4 | 0 | 3
Analog | 40258 | HO Engine Inlet Flow DG#4 | 0 | 3
Analog | 40259 | HO Engine Return Flow DG#4 | 0 | 3
Analog | 40260 | Engine LO Pressure DG#4 | 0 | 3
Analog | 40261 | Turbo LO Pressure DG#4 | 0 | 3
Analog | 40262 | LO Cooler Inlet Temp DG#4 | 0 | 3
Analog | 40263 | LO Cooler Outlet Temp DG#4 | 0 | 3
Analog | 40264 | Oil Mist Level DG#4 | 0 | 3
Analog | 40265 | OMD Analog Signal DG#4 | 0 | 3
Analog | 40266 | Generator Voltage DG#4 | 0 | 3
Analog | 40267 | Generator Frequency DG#4 | 0 | 3
Analog | 40268 | Generator Power Factor DG#4 | 0 | 3
Analog | 40269 | Generator Current DG#4 | 0 | 3
Analog | 40270 | Jacket Water Pressure DG#4 | 0 | 3
Analog | 40271 | Cooler Water Pressure DG#4 | 0 | 3
Analog | 40272 | Jacket Water Inlet Temp DG#4 | 0 | 3
Analog | 40273 | Jacket Water Outlet Temp DG#4 | 0 | 3
Analog | 40274 | Cooler Water Inlet Temp DG#4 | 0 | 3
Analog | 40275 | Cooler Water Outlet Temp DG#4 | 0 | 3
Analog | 40276 | CW Before LO Cooler Temp DG#4 | 9987 | 3